VANDAGRAPH
  COMPANY OPERATING PROCEDURE

Tek-OxQA manufacturing QA 

    VM3/COP/42.02

Date:01/02/08
Revision Date: 14-Aug-09
Issue 3


S/N of unit

PCB Version


S/N of  PCB or Batch

S/W version


Stage 
Process

Int.
Date

1
Check plastic parts for rough edges




2
Check for blemishes on outer surfaces




3
Check inside enclosure battery terminals and Jack plug nuts are sealed




4
Check Calibration knob screw has  loc-tite applied




5
Check alignment of LCD




5
Ensure Plastic PCD film is removed




7
Ensure LCD is dust free




8
Before final enclosure assembly CHECK unit is  siliconed




9
Check front gasket is in place




10
Check Lugs on front panel




11
Ensure front panel is screwed to enclosure  10mm screws




12
Check battery terminals are cleaned




13
Check battery cover gasket is in place




14
After final assembly unit functional check




15
Correct software




16
Correct Title message




17
Correct switch
Yellow  normal auto /off





Green Manual On/Off



18
 Calibration 20.9 in Air
This test can be electronic. !0.mV  set 20.9 .  47.9 reads 100%



19
Calibration 100%




20
Check alignment of all labels




21
Check sensor reads 




22
Check the unit is watertight ( blow into enclosure




Comments


Tek Ox  manufacturing QA.doc       14/08/2009      Page 1 of 1

