Internal Audit Check list

Calibration

Created:
17/May 1995
Audit No 6
VM3/COP11

VOP11

Revised:
19 August 2009
Last printed 19/08/2009 03:47:32 PM
Page 1 of 1

Audit Date

Auditor
ISO 6.3     7.6


Calibration register has been transferred to Intrastats.

Out of calibration test equipment automatically flags when it is requested for use.

Verify the existence of a calibration register and planned matrix
Intrastats
N/A

Is the register maintained



Verify that equipment in use has a Identification number, serial number and calibration BarCode status sticker.





Is equipment calibrated within its due period



Does each item of equipment have a record card
Intrastats


Is record card updated correctly
Intrastats


Is equipment in the register; Check that the register is updated with this information.



Verify that records show any measurements taken. And parameters stated.



Is the register updated with this information
Intrastats


Check that external certificates of calibration are filed 





Verify that where items failed calibration an assessment was undertaken to ascertain potential recall of product. 



Are Calibrations traceable to NAMAS



Are In-House calibration procedures listed in the Intrastats Document Index where required.









1687%5B1%5D.doc


                       19/08/2009        Page 1 of 1

