[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]


                                                                   Blu Ox – CE FILE


Product Changes.

Date.
Change to product.

11;08;08
In order to comply more easily with ESD requirements a small 0.75.. Polycarbonate window has been added.

The software 4.01 has been modified to reset the screen every 30 seconds.

This is only required on the Non auto version

20:08:09
The screws holding the front panel and side panels have been changed to 7mm  

See design changes: The clips on the front panel have been strengthened. This has meant modifying the side panels. If a frontpanel is replaced all three items must be replaced.

The window has been enlarged and is now protected when despaptched to us 























































4527%5B1%5D.doc
20/08/2009

Page 1 


[image: image1.jpg][image: image2.png]