[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




2160 SpO2 – CE FILE


Device Classification.

Extract from Medical Device Directive 93 / 42 / EEC, Annex IX: Classification Criteria.

1.
Definitions for the classification rules.

1.1 Duration.

[image: image1.jpg]
Short Term


Normally intended for continuous use for not more than 30 Days


Long Term


Normally, intended for continuous use for more than 30 Days

*
The 2160 is intended for use as a spot monitor  for periods of not more than 60 Minutes However it can be used for longer periods as it has 48hr trends – Hence Short term.

[image: image2.png]
Any active medical device, whether used alone or in combination with other medical devices, to supply information for detecting, diagnosing, monitoring or treating physiological conditions, states of health, illness or congenital deformities..

*
The 2160 is used to Monitor SpO2, - Hence an active device.

1. Non-invasive devices

The 2160 SpO2 is Classified as IIa

1.6       Active Device for Diagnosis





Transient


Normally intended for continuous use for less than 60 Minutes.








Classification Rationale 2160 SpO2.doc
01/10/2009
                                                                                                                               Page 1



