[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



         BPM Temperature Probes  - CE FILE


Classification Rationale

	Product Family
	 BPM Temperature Probes 

	Type


	Rule
	Class
	Additional Information

	Non-Invasive


	Rule 1
	I

IIa


	Skin Probe

	Active


	Rule 10
	
	Connects to Temperature monitors

	Invasive


	Rule 5
	
	Oesophageal probe

	Special


	No
	
	


Flow chart includes: Yes or No

Classified by:
…………………………………

Date:


01/10/2009

The Device does no administer or exchange energy,  fluids ,solids or gases. 

Classification Rationale BPM Temp probes cert.doc


01/10/2009

Page 1

[image: image1.jpg][image: image2.png]