[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




APGAR TIMER - CE FILE


Classification Rationale

	Product Family
	Apgar Timer

	Type


	Rule
	Class
	Additional Information

	Non-Invasive


	Rule 1
	1


	

	Active


	Rule 1 & 12
	
	Monitors – Time Elapsed

	Invasive


	No
	
	

	Special


	No
	
	


Flow chart includes: Yes or No

Classified by:
…………………………………

Date:


……/……../……..

The Device does no administer or exchange energy,  fluids ,solids or gases. It is there as a guide to time elapsed so that APGAR scoring can be used.

APGAR scores are used at 1 minute: 5 minute: and 10 minute intervals from the birth of the infant.

This device is a simple second and minute counter that is started around birth and gives an audio sound to remind the clinician or midwife to check the time .

Real time of birth is noted by other means.

Classification Rationale 400 series cert.doc


01/10/2009

Page 1

[image: image1.jpg][image: image2.png]