[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




2101 SpO2  - CE FILE


Classification Rationale

	Product Family
	21    2160 SpO2

	Type


	Rule
	Class
	Additional Information

	Non-Invasive


	Rule 1
	1Ib


	

	Active


	Rule 1 & 11
	
	Monitors – SpO2

	Invasive


	No
	
	

	Special


	No
	
	


Flow chart includes: Yes or No

Classified by:
…J.S.Lamb………………………………

Date:


01/10/2009

The Device uses skin contact and is non-invasive.

It does not administer or exchange energy,  fluids ,solids or gases.  . The 2101 is intended for use as a spot monitor  for periods of not more than 60 Minutes 

However it can be used for longer periods as it has 48hr trends.

The 2101 can be used in critical care areas

2101 Classification cert.doc


01/10/2009

Page 1

[image: image1.jpg][image: image2.png]