	VANDAGRAPH
  COMPANY OPERATING PROCEDURE

	Conversion R-17D-VG to R-17D-VGJJ

	VM3/COP/40.48

	Date: 28-07-09
	Revision Date: 7-Oct-09
	Issue 1

	Only to be attempted by trained personel



	Parts Required

	Quantity
	Description
	Part No.
	

	1
	R17D-VG
	
	

	1
	4mm Grommet
	9040100
	

	1
	1cm Heatshrink
	
	

	1
	0.5cm Heatshrink
	9080018
	

	1
	Oertling cable clamps
	9040201
	

	1
	Connector RS 295-5609 to be supplied with cable
	
	

	1
	Cable   RS 521-8206 to be supplied with connector
	
	

	1
	White Box 
	9040021
	

	
	White Box  Lid
	9040002
	

	2
	Packing Material
	9040006
	

	1
	Round “Vandagraph” Label
	9040003
	

	2
	Serial number Labels
	
	

	1
	Serial number Label for Outer bag
	
	

	1
	Polythene Bag (outer)
	
	


[image: image1.jpg]


[image: image2.jpg]


[image: image3.jpg]



Procedure

1. Remove the label. And store safely

2. Remove the top cap from the R-17D-VG, 

3. Prise of the cap and remove any excess glue

4.  remove the jack socket

5. Remove the red and Black wires. Do not apply too much heat to the PCB. 
Melt the solder at the base of the wire, when melted push the wire down so the the wire protruding through the hole is pushed clear. 

6. Failure to do so in one movement will make it hard to remove the wire

7. [image: image4.jpg]


[image: image5.jpg]


[image: image6.jpg]


Insert the grommet and glue into position and [image: image7.jpg]


strip the cable , and separate the screen

8. Add heat shrink over the screen 

9. Feed the cable through the grommet, ,
The Oertling clamp should be just on the cable outer insulation

10. Solder the wires to the hole/pads Red to Red Black to Black.

11. Re-assemble and test. Output should be 9mV to 13mV.Glue the cap into position 


12. Replace the label  with an R17D-VGJJ



13. Package[image: image8.jpg]


[image: image9.jpg]


[image: image10.jpg]



R17VGJJ.doc       07/10/2009      Page 2 of 2

