Vandagraph Calibration Record General

	Certificate Number:
	

	Date:
	

	SRN Number
	

	Calibrated By:
	

	Equipment Type:
	

	Serial Number of Instrument
	

	Serial Number of Oxygen sensor
	

	Oxygen sensor Type;
	

	100% Oxygen        (He reading)
	
	

	Dry Air:                  (He reading)
	
	

	100% Helium         (Oxygen reading)
	
	

	Calibration Equipment
	
	

	Oxygen BOC Medical 99.95% License ML/0735/01
	

	Helium BOC Medical 99.95%License ML/0735/01
	

	Electronic Calibration

	Microcal Serial Number
	

	Fluke Graphical Multimeter, serial number 6911002, CE080
	

	Pico  ADC-200, serial number 3468, CE020
	

	Reading expected: Reading Actual +/- 0.3

	50mV
	
	100
	

	40mV
	
	80
	

	30V
	
	60
	

	20mV
	
	40
	

	10mV
	
	20
	

	5mV
	
	10
	

	Comments
	
	


Signed:

6718%5B1%5D.doc      12/16/09


