Viamed Computer Issues VM3COP60.01


Diagnose Problem via VM3COP60.02.

Assuming VMSERVER5 is the current live server.

If not replace all vmserver5 commands with vmserverx where appropriate.

1 Reboot Client


if Problem not fixed, goto (2) reboot Modem

2 Reboot Modem


Unplug the ADSL Modem in Stock room 6 count to ten then plug the power back in,

reboot the computers causing problems

3 Check Network Hub

   Check the Network Wire on the back of the Client are the lights on?

   Check the network back to the hub are the lights on?


Try unplugging are replugging the wire into the hub and computer?


Reboot the hub.


Replace the cable.


Jump to (9) IP Conflicts.

    Faulty Client PC. - repair / replace.

4 Reboot server


At the server Bay restart VMSERVER5 

5 Check Drive Mappings


In computer Address bar type in:

   //vmserver5

   if computer Errors jump to (6) Host File

 remap any missing drives.

6 Host File


File location:


c:\windows\systems32\drivers\etc\hosts


open in text editor and add the following lines to the end


195.164.0.40      vmserver5


195.164.0.141    vmserver6    

7 Client Browser


Window Update


Reboot Client


Re-Check,

8 Network Hardware


Replace Common Hub,


Check Wiring from Common hub to Central Hub

9 IP Conflicts


Network Settings on Client


Change the fixed IP to Automatically get IP.

10 Power up Servers


Set the Switch box to Light 1,
   Turn on 1st Server


wait until boot finished on screen


Set the Switch box to Light 2,


turn on the 2nd Server


wait until boot finished on screen.

11 Check Servers


Restart Server

SErver Backup.rtf                           19/01/2010                        Page 3 of 3

