	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom
Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com
	



	UK PRICE LIST

INFANT RESUSCITATION CABINET ACCESSORIES AND UPGRADES




	Part 
Number
	Description
	Price £

	0310200
FDD1248*
	Low Flow Air/Oxygen Blender complete with flowmeter, up to 30 L/min

3m air and 3m oxygen hose and mounting bracket
Oxygen Monitors are also available for use with the Air/Oxygen Blender.
	£1,050.00

	0310100
	Digital Apgar Timer
Features large digit display, time-freeze function, and audible indication at 1, 5 and 10 minutes (Note: mounting bracket sold separately)
	£195.00

	0320200
	Mounting bracket with ‘Medirail’ clamp
For use with Digital Apgar Timer
	£45.00

	0320021
	Resuscitation bed, 35cm (14”) wide
With sides and front retaining lip to prevent mattress movement
	£102.00

	0320043
	Mattress, 35cm (14”) wide 

Designed to meet BS5852 (Crib5) fire retardancy standards
For use with 0320021: 35cm wide bed
	£45.00

	0320042
	Mattress, 30cm (12”) wide
Designed to meet BS5852 (Crib5) fire retardancy standards
Designed as an upgrade to existing cabinets using 30cm wide beds
	£45.00



	3833-132
	Vacsax suction receiving canister
1 Litre, standard bore, reusable
With dovetail mount. (Note: mounting bracket sold separately)
	£6.30

	9910-340
	Vacsax disposable liners, Box of 25
1 Litre, standard bore
	£35.10

	3833-007
	Vacsax tapers. Pack of 10
Connects disposable liner to low suction controller via 10mm tubing
	£29.00

	0310105
	Filters for use with Oxylitre Low Suction Controller (S714), Box of 30
	£63.00

	0310110
	Filters for use with Therapy Equipment Low Suction Controller (4725-3M), Box of 10
	£22.50

	0320010
	Universal rail clamp with ‘V’, for mounting Vacsax suction jar
	£13.80

	3210011
	NeoPEEP neonatal resuscitation circuit, Single patient use
	£4.75

	0120140
	Adapter: 15mm I.D – 15mm I.D

Reusable, for connecting the NeoPEEP to the Tom Thumb
	£2.35

	0120141
	Adapter: 15mm I.D – 15mm I.D

Disposable, for connecting the NeoPEEP to the Tom Thumb
	£0.85

	3210070
	Single use silicone round facemask – Size 00, Single unit
	£3.25

	3210071
	Single use silicone round facemask – Size 01, Single unit
	£3.25

	0310020
	Size 3 storage bin, blue
	£2.00


NB. The NeoPEEP, NeoPEEP connectors and silicone facemasks are also available in multiple quantities for your convenience, and are available through the NHS Supply Chain.
* AVAILABLE THROUGH THE NHS SUPPLY CHAIN – NPC codes are detailed in red.
	Prices effective: 26 January 2010                                                                                                                                             CE0086

Prices exclude VAT and postage and packing 


Tel:  

 01535 633705

Fax: 

 01535 635582

e-mail: 

sales@viamed.co.uk
	www.viamed-online.com 

Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image1.png]Master€ard




	 
[image: image2.png]VISA







[image: image3.png]_1145192177.bin

_1145192477.bin

