Mainstream Capnograph Competitors

	Model


	Features

	Respironics – Tidal Wave Sp 710
[image: image1.jpg]



Respironics – Tidal Wave Sp 715 (Mainstream & Sidestream)

	· Display: Backlit LCD, 55mm x 28mm
· Data Displayed; EtCO2, FiCO2, RR, SpO2, PR, Capnogram, Plethysmogram
· Unit Size (mm): 200 x 950 x 48

· Unit Weight (g): 793

· Ingress Protection: Not stated

· Calibration: Not required
· Warm-up Time: Capnogram within 15 seconds, full specification within 60 seconds

· Total Response Time: 60 ms

· Data Storage: 30 min on screen, 24 hours battery backed

· Power Supply Options: Rechargeable batteries, AC power supply

· Battery Life: 4.5 hours (NiMH rechargeable batteries), 5.5 hours (standard batteries)

	Respironics – CO2SMO

[image: image2.jpg]



	· Display: Cold Cathode Display (CCD), 127mm x 308mm 

· Data Displayed; EtCO2, FiCO2, RR, SpO2, PR, Capnogram, Plethysmogram
· Unit Size (mm): 229 x 203 x 838
· Unit Weight (kg): 3.63
· Ingress Protection: Not stated

· Calibration: Not required

· Warm-up Time: Capnogram within 15 seconds, full specification within 60 seconds

· Total Response Time: 60 ms

· Data Storage: 30 min / 2hr / 8hr / 12hr on screen or printed out, 24hr battery backed 

· Power Supply Options: Sealed lead acid gel cell, AC power supply 

· Battery Life: 2hrs

· Battery recharging time: 12hrs 

	HP/Philips – IntelliVue MP2 Model: M3014A
(Mainstream or Sidestream)
[image: image3.jpg]




	· Display: LCD TFT, touchscreen
· Data Displayed; EtCO2, FiCO2, RR, SpO2, PR, Capnogram, Plethysmogram, BP, Temperature, ECG
· Unit Size (mm): 188 x 99 x 86
· Unit Weight (kg): 1.5
· Ingress Protection: IP32 (Monitor, not including external power supply)
· Calibration: Not stated
· Warm-up Time: Mainstream: 2 mins. for full accuracy, Warm-up Time Sidestream: 2 mins. for full accuracy
· Total Response Time: Mainstream: Less than 60ms

· Total Response Time Sidestream: 3 seconds.
· Sidestream Sample Flow Rate: 50 +/- 15/-7.5 ml/min

· Data Storage: up to 48 hours 
· Power Supply Options: Standard batteries, AC power
· Battery Life: 3hrs

	Phasein – EMMA

[image: image4.jpg]



Smiths Medical – Capnocheck (Own brand label of the EMMA)
[image: image5.jpg]




	· Display: 

· Data Displayed; EtCO2, RR, 

· Unit Size (mm): 52 x 39 x 39

· Unit Weight (g): 60

· Ingress Protection: IPX1

· Calibration: Not required

· Warm-up Time: 5 seconds to full accuracy

· Total Response Time: 60 ms

· Data Storage: Not available
· Power Supply Options: 2 x AA Batteries

· Battery Life: 8hrs


	Nonin – 9847

[image: image6.jpg]




	· Display: LED

· Data Displayed; EtCO2, RR SpO2, PR 

· Unit Size (mm): 80 x 150 x 20

· Unit Weight (g): 310

· Ingress Protection: Not stated

· Calibration: Not required

· Warm-up Time: “First breath” activation

· Total Response Time: 250ms

· Data Storage: 24hrs

· Power Supply Options: 6 x AA Batteries

· Battery Life: 20hrs


