	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire  BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk       www.viamed-online.com



	UK DISTRIBUTOR LIST

VM-2500 CO2 & SpO2 Monitor



VM-2500-M Mainstream Monitor
	Part Number
	Model

No.
	Description
	Price £

	
	
	
	1
	5
	10
	25

	4410500
	2500
	VM-2500-M
EAN-13 (GTIN-13) barcode: 5051826002711
Includes:

Mainstream unit

IRMA CO2 Analyser

IRMA airway adapter (Adult/Paediatric), single item

Reusable SpO2 Sensor*

USB Data Cable

Power supply (EU and UK Plug)

4 x batteries (AA)

1 x Li-ion rechargeable battery

Silicone protective cover

PC Software

Instruction Manual on CD

Language package version: Central European, including English, Dutch, French, German, Italian, Spanish, Swedish and Russian (continuously updated).

*Please select from the following sensor styles:

Silicone Soft Sensor (Adult or Paediatric), Finger Sensor, Silicone Wrap Sensor or Ear Sensor, and indicate at the time of ordering.
	£1,484.18
	£1,394.22
	£1,304.28
	£1,232.32


VM-2500-S Sidestream Monitor
	Part Number
	Model

No.
	Description
	Price £

	
	
	
	1
	5
	10
	25

	4410520
	2500
	VM-2500-S
EAN-13 (GTIN-13) barcode: 5051826002728
Includes:

Sidestream unit

Nomo Adapter

Sampling Line

Sidestream airway adapter (adult/paediatric), single item 

Reusable SpO2 Sensor* 

USB Data Cable

Power supply (EU and UK Plug)

4 x batteries (AA)

1 x Li-ion rechargeable battery

Silicone protective cover

PC Software

Instruction Manual on CD

Language package version: Central European, including English, Dutch, French, German, Italian, Spanish, Swedish and Russian (continuously updated).

*Please select from the following sensor styles:

Silicone Soft Sensor (Adult or Paediatric), Finger Sensor, Silicone Wrap Sensor or Ear Sensor, and indicate at the time of ordering.
	£1,484.18
	£1,394.22
	£1,304.28
	£1,232.32


VM-2500-M Specific Accessories
	Part Number
	Description
	Price £

	4420505
	IRMA CO2 Analyser
	£1,008.00

	4420510
	IRMA Airway Adapter – single patient use

Adult/Paediatric

6 x Boxes of 25 pcs.
	£801.45

	4420511
	IRMA Airway Adapter – single patient use

Adult/Paediatric

Box of 25 pcs. 
	£135.00

	4420520
	IRMA Airway Adapter – single patient use

Infant/Neonatal

6 x Box of 10 pcs.
	£593.70

	4420521
	IRMA Airway Adapter – single patient use

Infant/Neonatal

Box of 10 pcs.
	£98.95


VM-2500-S Specific Accessories

	Part Number
	Description
	Price £

	4420525
	Nomo Adapter
	£22.49

	4420550
	Sampling Line, disposable, hydrophobic

With Luer Lock – MLL/MLL (Box of 25)
	£33.73

	4420531
	Sidestream airway adapter

Adult/Paediatric

With Luer Lock Sideport – FLL (Box of 25)
	£33.73

	4420570
	15 mm Airway Adapter, I.D 2.0 mm, Box of 10
	£8.40

	4420571
	15 mm Airway Adapter, I.D 2.5 mm, Box of 10
	£8.40

	4420572
	15 mm Airway Adapter, I.D 3.0 mm, Box of 10
	£8.40

	4420573
	15 mm Airway Adapter, I.D 3.5 mm, Box of 10
	£8.40

	4420574
	15 mm Airway Adapter, I.D 4.0 mm, Box of 10
	£8.40

	4420575
	15 mm Airway Adapter, I.D 5.0 mm, Box of 10
	£8.40

	4420576
	15 mm Airway Adapter, I.D 5.0 mm, Box of 10
	£8.40

	4420577
	15 mm Airway Adapter, I.D 7.0 mm, Box of 10
	£8.40

	4420578
	15 mm Airway Adapter, I.D 8.0 mm, Box of 10
	£8.40

	4420579
	15 mm Airway Adapter, I.D 9.0 mm, Box of 10
	£8.40

	4420580
	15 mm Airway Adapter, I.D 10.0 mm, Box of 10
	£8.40


Standard Accessories
	Part Number
	Model Ref.
	Description
	Price £

	0014650
	FC 6500 VM
	Reusable Adult Finger Sensor, 1.2m cable length
	£58.65

	0014750
	SC 6500 VM
	Reusable Adult Silicone Soft Sensor, 1.2m cable length
	£65.25

	0014590
	SCA 6500 VM
	Autoclavable Adult Silicone Soft Sensor, 1.2m cable length
> 200 autoclaving cycles
	TBA

	0014751
	SCP 6500 VM
	Reusable Paediatric Silicone Soft Sensor, 1.2m cable length
	£65.25

	0014591
	SCPA 6500 VM
	Autoclavable Paediatric Silicone Soft Sensor, 1.2m cable length
> 200 autoclaving cycles
	TBA

	0014835
	W 6500 VM
	Reusable Silicone Wrap Sensor, 1.2m cable length
	£65.25

	0021013
	
	Sensor Wraps, for use with silicone wrap sensor (box of 12)
	£4.80

	0014825
	EP 6500 VM
	Reusable Ear Sensor, 1.2m cable length
	£65.25

	0014993
	8-AP
	Adult Plaster Disposable Sensors (box of 24)
	£190.08

	0014994
	8-PP
	Paediatric Plaster Disposable Sensors (box of 24)
	£190.08

	0014995
	8-IP
	Infant Plaster Disposable Sensors (box of 24)
	£207.36

	0014996
	8-NP
	Neonatal Plaster Disposable Sensors (box of 24)
	£207.36

	0014895
	XT 6500
	Pulse Oximetry Extension Cable, 1.2m cable length
	£47.88

	0014896
	XT 6501
	Pulse Oximetry Extension Cable, 2.4m cable length
	£63.00

	4420610
	
	Silicone Protective Cover 
	TBA

	0022170
	
	Carrying Bag, with shoulder strap
	£9.45

	4420600
	
	Universal Mounting Kit, V-adapter with female pole-mount thread
	£9.07

	0121200
	
	Universal Mounting Clamp, with vertical and horizontal adjustments 
	£28.01

	0121197
	
	‘V’ Mount Pole Clamp, Horizontal 
	£32.00

	0121198
	
	‘V’ Mount Rail Clamp 
	£79.18

	0121201
	CP2344
	‘V’ Mount Pole Clamp 
	£34.64

	0121202
	B 647
	‘V’ Mount Wall Plate 
	£12.75

	9950050
	
	Battery, 1.5V AA (single item)
	£0.68


NB. The Universal Mounting Kit is required when using any of the above mounting options.

CE0086
Prices effective: 5 February 2010
Price excludes VAT 

Postage and packing: Delivery for the VM-2500-M and VM-2500-S is included ‘Free of Charge’.

For accessories ordered separately, delivery is chargeable and goods shipped by Royal Mail – Recorded Delivery.

Tel:  

01535 633705
Fax: 

01535 635582

	e-mail:

sales@viamed.co.uk
www.viamed-online.com 

Purchase orders welcomed by: Telephone, fax, e-mail, post or online.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	   
[image: image1.png]Master€ard




	 
[image: image2.png]VISA













[image: image3.png]_1145192177.bin

_1145192477.bin

