	     [image: image8.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542          Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



	INTERNATIONAL PRICE LIST

OXYGEN HOODS




	[image: image1.jpg]



	Enclosed oxygen hood available in a range of sizes.

Includes a sliding front to adjust the neck aperture to the size of the patient. 




	Part number


	Description
	Price

USD $



	PP8000
	Oxygen hood, Size 1. 

Featuring sliding front.

165 mm (l) x 200 mm (w) x 150 mm (h)


	$125.60

	PP8050
	Oxygen hood, Size 2. 

Featuring sliding front.

245 mm (l) x 255 mm (w) x 185 mm (h)


	$176.00

	PP8060
	Oxygen hood, Size 3. 

Featuring sliding front.

300 mm (l) x 310 mm (w) x 230 mm (h)


	$208.80

	PP8589
	Oxygen hood, Size 4. 

Featuring sliding front.

400 mm (l) x 400 mm (w) x 300 mm (h)


	$344.80


	Custom-sized specials:

Should the range of standard sized hoods not meet your requirements, Viamed can design an oxygen hood to your exact specification; please contact us for further details.




	INTERNATIONAL PRICE LIST

OXYGEN HOODS WITH SIDE PORTS




	[image: image2.jpg]



	Available with side ports for easy access to the patient without the need to remove the hood.

Includes a sliding front to adjust the neck aperture to the size of the patient.


	Part number


	Description
	Price

USD $


	PP8020
	Oxygen hood, Size 1. 

Featuring sliding front and side ports.

165 mm (l) x 200 mm (w) x 150 mm (h)


	$208.80

	PP8055
	Oxygen hood, Size 2. 

Featuring sliding front and side ports.

245 mm (l) x 255 mm (w) x 185 mm (h)


	$259.20

	PP8065
	Oxygen hood, Size 3. 

Featuring sliding front and side ports.

300 mm (l) x 310 mm (w) x 230 mm (h)


	$318.00

	PP8715
	Oxygen hood, Size 4. 

Featuring sliding front and side ports.

400 mm (l) x 400 mm (w) x 300 mm (h)


	$454.00


	Custom-sized specials:

Should the range of standard sized hoods not meet your requirements, Viamed can design an oxygen hood to your exact specification; please contact us for further details.




	OXYGEN HOOD ACCESSORIES




	Part number
	Description
	Price

USD $



	PP1968
	[image: image3.jpg]



	Connector: 22 mm oxygen stem.

For connecting all oxygen hoods to oxygen tubing.

Model: 1968
	$1.36

	0120126
	[image: image4.jpg]



	Connector: 22 mm O.D. – 22 mm male O.D.

Model: 1969
	$2.32

	1131050
	[image: image5.jpg]



	Silicone curtain/flap. Supplied individually.

Provides a soft silicone neck aperture as an alternative to the sliding front.

Can be used with Size 1 oxygen hoods and Size 1 & 1b phototherapy light shields with front.
	$8.00


CE0086

Prices effective: 1 March 2010

Prices EXW (Incoterms 2000) Viamed UK
Tel:  

+44 (0)1535 634542
Fax: 

+44 (0)1535 635582

e-mail:

sales@viamed.co.uk
www.viamed-online.com
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image6.png]Master€ard




	 
[image: image7.png]VISA







[image: image8.png]_1145192177.bin

_1145192477.bin

