Vandagraph Internal Worksheet/Calibration Sheet               V2.0     17/06/10  


	[image: image1.jpg]



Vandagraph Ltd.

15,Station Road,

Crosshills,

Keighley.

W.Yorks

BD207DT
	Action Required

	
	

	
	

	
	

	
	

	
	

	
	

	Equipment
	

	Serial number
	

	Accessories
	Serial Number

	Oxygen Sensor Type
	

	Power supply unit
	

	Tests
	

	Battery Check
	

	Soak Test
	

	Check Function
	

	Software Version 
	

	Calibration

	Gas
	Oxygen Reading
	Helium Reading

	Air
	
	

	100% Oxygen
	
	

	100% Helium
	
	

	Heliox
	
	

	Comments


	
	

	Customer;

Date out                                                              Invoice No.



	Job Carried out by 
	
	

	Date Completed 
	
	

	Service Time
	
	


Vandagraph Internal Worksheet Calibration Sheet.doc                    20 May 2010                                           2

