	Vandagraph Ltd.

15,Station Road,

Crosshills,

Keighley.

W.Yorks.BD207DT[image: image1.jpg]



	Action Required

	
	Customer
	

	
	Date Out
	

	
	Invoice Out
	

	
	Comments



	Equipment
	
	Calibration Equipment

	Serial number
	
	Oxygen BOC Medical 99.95% (ML/0735/01

	Accessories
	
	Helium BOC Medical 99.95% (ML/0735/01

	Oxygen Sensor Type
	
	Heliox BOC Medical HeO2 21 (ML/0735/01

	Oxygen sensor S/N
	
	Microcal 
	S/N

	Power supply unit
	
	Fluke D.V.M CE080
	S/N 6911002

	Power supply unit S/N
	
	Pico ADC-200 CE020
	S/N 3468

	Tests Carried out
	

	Battery Check
	
	

	Soak Test
	
	

	Function Check
	
	

	Software version
	
	

	Calibration

	GAS
	
	Checks with D.P.M/Microcal

	Set 100% O2
	He =
	mV
	Oxygen level +/- 0.3

	Air reading
	
	
	100

	Set 100% He
	O2 =
	
	75

	Heliox/ Trimix
	/
	
	50

	Oxygen/Air Ratio

(4.78)  4.64 – 4.79 
	
	
	25

	Job Carried out by
	
	
	10

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	Comments
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	Date 


	
	
	

	Service Time
	
	
	

	
	
	
	

	
	
	
	


Vandagraph Internal Worksheet/Calibration Sheet     


Vandagraph Internal Worksheet Calibration Sheet V2.2.doc                              21/09/10


