From: John Lamb <john@lamb.uk.net>
Date: Tue, Sep 28, 2010 at 11:32 AM
Subject: VN202 housing upgrade
To: william.pan@justec.cn
Cc: john@vviamed.co.uk
Hi William
It is a good idea and does look good however it will cause problems.
The locking screw is essential as we have experienced flats on the plug.socket combination that causes loss of continuity.
There are tolerances on the both the socket and the plug.
Experience has shown only a screw locking cap is 100% reliable.
I suggeste you build a wall aroung the socket both from the top of the enclosure and the bottom of the enclosure which can be sealed with Silicone. The wires can ome through the wall and be sealed.
I have not had any problems with leakage around the socket where it comes out of the case.
See my attachements
Kind regards