## Anesthesia
Company:
Medical Oxygen Analyzers and Monitor
| Features | Benefits:
| Auto Diagnostics | Advanced Sensor Tecnology | Cost / Ea. | List Price
| Menu Driven Electronics | 60 Months Life in Air | 250 | 575
| Audible and Visual HI-LO Alarms | 2 year Warranty on Unit
| Alarms - LO15-99%, HI-16-100 O2 | 18 Months Warranty on O2 Sensor
| Use Continously or Spot Check: | Intuitive Interface
| Ventilators | Latex Free
Incubators
Anesthesia Machines
Large backlit LCD for Easy Viewing
Tripod stand and Dove tail Bracket
| Features | Benefits: | Cost / Ea.
| Auto Diagnostics | Advanced Sensor Tecnology | 175 | 385
| Menu Driven Electronics | 60 Months Life in Air
| Use Continously or Spot Check: | 2 year Warranty on Unit
| Ventilators | 18 Months Warranty on O2 Sensor
| Incubators | Intuitive Interface
| Anesthesia Machines | Latex Free
Large backlit LCD for Easy Viewing
Tripod stand and Dove tail Bracket
| Features | Benefits: | Cost / Ea.
| Auto Diagnostics | Advanced Sensor Tecnology | 175 | 385
| Menu Driven Electronics | 60 Months Life in Air
| Use for Spot Check Concentrator: | 2 year Warranty on Unit
| Large backlit LCD for Easy Viewing | 18 Months Warranty on O2 Sensor
| Tripod stand and Dove tail Bracket | Intuitive Interface
Latex Free
| Features | Benefits: | Cost / Ea. |  | 1
| East to Use…One Touch Controls | Advanced Sensor Tecnology | 160 | 250
| Acurate Reliable Results | 60 Months Life in Air
| One Touch Calibration - 100%O2 or Air | Low Cost
| Long Battery Life - 13,000hrs of | 2 Year Warranty, 12 Months Sensor
Continous Use
AII-2000PALM O2 | Analyzer w/ Internal Sensor & Flow Diverter
AII-2000PALM O2R | Analyzer w/ 6' Coil Cable and Sensor | Benefits: | Cost / Ea.
|  | Advanced Sensor Tecnology | 175 | 300
60 Months Life in Air
Low Cost
2 Year Warranty, 18 Months Sensor
2855 Metropolitan Place, Pomona, CA 91767 USA ٠ Tel: 909-392-6900, Fax 909-392-3665, email: sales-medical@aii1.com, www.aii1.com 4/20