VIAMED


VM2500-M Contents & Testing

VM3/COP/54.00   4410500

	Date:22/01/10
	Revision Date:7-Dec-10
	Issue: 1



VM2500-M  4410500  Contents & testing:

1 x VM2500-M   

(blue casing) fitted with silicone cover

Document the serial number and the software version and type, i.e. 

VM-2500-M, Version number, Europe, CD Type/Version

Check front panel is 

VM-2500-M, VIAMED

Check serial label is Viamed version

1 x IRMA CO2 analyser P/N: 4420505 

Need to document the serial number and check that ref. is 200104

1 x IRMA airway adapter (adult/paediatric). 

Check that Phase-In version and not Phase-In/ Smiths BCI. Our part number for this 4420512. If Phase-In/Smiths BCI replace with our version from stock. Single Item p/n:  4420512  (Multi Pack: 4420511)

1 x Reusable SpO2 sensor 

Needs to be shipped, type as per the customer order, standard will be 0014650. Ship as a separate item on the order at zero value.

1 x USB data cable.

1 x Power supply 

Type FW7660M/06

1 x Power supply plug adapter (EU)

1 x Power supply plug adapter (UK)

1 x Li-ion battery (CT-2500)

4 x AA batteries

1 x CD with user manual…

Document the CD version

1 x Quick start guide.

Carry out functional tests use test sensor and test IRMA adapter.

Check time and date, should need to change the time by 1 hr.

Delete (test) data.

Packaging sleeve needs large bar-coded label and colour dot affixing.

Must be Q.A. Into Intrastats. Probe will be merged automatically on the Q.A. Screen

Page 1 of 1

