VIAMED


VM2500-S Contents & Testing

VM3/COP/54.01  4410520

	Date:22/01/10
	Revision Date:7-Dec-10
	Issue: 1



VM2500-S 4410520 Contents & testing:

1 x VM2500-S   

(yellow casing) fitted with silicone cover

Document the serial number and the software version and type, i.e. 

VM-2500-S, Version, Europe

Check front panel is 

VM-2500-S , VIAMED

Check serial label is Viamed version

1 x Nomo adapter P/N:4420525

1 x Disposable sampling line

Need to add from our stock 4420551

1 x Airway adapter (adult/paediatric)

Looks like a clear T piece 4420532

1 x Reusable SpO2 sensor 

Type as per the customer order, standard will be 0014650. Ship as a separate item on the order at zero value.

1 x USB data cable.

1 x Power supply 

Type FW7660M/06

1 x Power supply plug adapter (EU)

1 x Power supply plug adapter (UK)

1 x Li-ion battery (CT-2500)

4 x AA batteries

1 x CD with user manual…

Document the CD version

1 x Quick start guide.

Cary out functional tests use test sensor and test IRMA adapter.

Check time and date, should need to change the time by 1 hr.

Delete (test) data.

Packaging sleeve needs large bar-coded label and colour dot affixing.

Must be Q.A. Into Intrastats.

Page 1 of 1

