[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



         Microstim mk3   – CE FILE


	Pre Design    Risk Analysis Report.

	Pre-design Considerations
	See original Microstim Technical File. Designed by MRI medical Physics department 1985
	

	Power Supply
	
	

	Function
	
	

	Display:
	No display
	

	Alarms: 
	No Alarm
	

	Audio:
	loudness controlled by ISO Standards
	

	Visible
	No Alarms
	

	Controls:
	Two switches   one amplitude knob
	

	Comments
	
	


Assessed:- J.S.lamb

Date:- 2006

Pre Design Risk Assessment Microstim mk3.doc
18/01/2011

Page 1

[image: image1.jpg][image: image2.png]