Products Susceptibility of leakage and liquid damage  Tom Thumb


	Does product contain liquids
	  NO

	Does product control liquids 
	  NO

	Is product surrounded or immersed in liquids 
	  NO

	Does product contain a battery
	 No

	Date 
	


John .S.Lamb

Leakage.doc  12/13/10    1  Of  1

