TOOLING REQUIRED FOR SERVICING TOM THUMBS


	Part  No.
	Description
	Qty
	

	
	
	
	

	
	Manometer
	1
	Calibration of Finished Unit

	
	Insertion Tool
	1
	Adjusting the Valve collar

	0060070
	Clamping Tool
	1
	Gripping the Precision Valve

	547-953
	Retaining Screwdriver
	1
	Inserting the Grub screw

	264-8654
	Flat Blade Screwdriver – 6mm wide
	1
	Releasing the Adjusting Screw

	573-570
	14mm Open-ended Spanner
	1
	Attaching pressure gauge & Blanking bolt

	574-006
	12mm Open-ended Spanner
	1
	Attaching the O2 hose

	734-905
	3mm Allen Key
	1
	Attaching the spacer & clamp

	539-542
	8” Adjustable Spanner
	1
	Attaching the Valves, outlet and Flowmeter

	0050120
	Isopropyl Alcohol
	1 Bottle
	Cleaning the unit and removing old residue of grease

	
	Tooth Brush
	1
	

	512-224
	PTFE Tape
	1 Roll
	Insulating the hose and the Right angle

	0330221
	Thread Lock
	1 Bottle
	Sealing the Valves

Greasing Internal Valve parts

	0330220
	Fomblin Grease
	1Tube
	

	
	TOOLING KIT
	
	

	0060070
	Clamping Tool
	1
	

	
	Insertion Tool
	1
	

	547-953
	Jewellers Screwdriver
	1 Set
	

	734-905
	3mm Allen Key
	3
	

	0050120
	Isopropyl Alcohol
	1 bottle
	

	
	“O2 Compatible” Grease
	1 Tube
	

	0330221
	Thread Lock
	1 Bottle
	

	512-224
	PTFE Tape
	1 Roll
	

	
	Tooth Brush
	1
	

	
	
	
	

	
	SPARES KIT
	
	

	0330214
	Thin “O” Rings
	30
	

	0330213
	Thick “O” Rings
	30
	

	0330212
	Diamond Copper Washer
	5
	

	
	“O2 Compatible” Grease
	
	

	
	Thread Lock
	
	

	
	
	
	

	
	
	
	



