[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




MICROSTIM DBS_Mk3 – CE FILE

Classification Rationale

	Product Family
	      Microstim DBS Mark3

	Type

	Rule
	Class
	Additional Information

	Non-Invasive

	Yes
	
	

	Active

	Yes - Rule 10
	IIa
	Supplies electric energy to make muscles twitch, as an indication of depth of Anaesthesia. Has been compared to a reflex hammer

	Invasive

	No
	
	

	Special

	No
	
	


BSI Flow chart includes : Yes or No

Classified by:
…………………………………

Date:


……/……../……..
D. Classification Rationale_Microstim
21/04/2005

Page 1

[image: image1.jpg][image: image2.png]