[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



         Plastics   – CE FILE


	Pre Design    Risk Analysis Report.

	Pre-design Considerations
	No design file . This product was developed over years in Hospital SCBU.s
	

	Power Supply
	None
	

	Function
	See description
	

	Display:
	No display
	

	Alarms: 
	No Alarm
	

	Audio:
	No Alarm
	

	Visible
	No Alarms
	

	Controls:
	None
	

	Comments
	Simple Acrylic product.
	


Assessed:- J.S.lamb

Date:- 2006

7420%5B1%5D.doc
29/01/2011

Page 1

[image: image1.jpg][image: image2.png]