Post Market Surveillance

Go to the ISO Menu – Technical File Links

Find the technical file / product range name to be reviewed.
List is grouped on technical family type.

The list can be filtered to Viamed products by
clicking the title Viamed Product in the key listing box.

Filtered list showing all product ranges:

Select the green or red PMS button. The button will be red if the Post Market Surveillance is due and the button will be green if the last review was within 12 Months.

The Page Takes sometime to load as its gather data from various sections of Intrastats.

Once in the PMS the Associated Stock References are listed at the top. Followed by the sections below to review.

Section 1. Part numbers and Descriptions
This is a list of all part numbers associated with the Technical File / Product range.
Check the Part numbers are still valid, the descriptions are correct and no new ones have been added that are not on the list

After the listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

Scroll Down for Section 2.

Section 2. Suppliers and Supplier Reviews
This is a list of all suppliers related to all the associated parts in the Technical File.
All suppliers should have up to date supplier reviews if they are still being used.

After the listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

Scroll Down for Section 3.

Section 3. Sales Information
This is a list of all sales information for all the products and associated products.
If for example spare parts suddenly getting larger sales than normal it may indicate there is a problem with the main product.

After the listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

Scroll Down for Section 4.

Section 4. Location of Sales
This is a list of all unique countries where the products have been sold.
See if any new countries could potentially pose a risk to/from the product based on region.

After the listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
There is also a questions about Sales Country's – New Risks? With a comments box. Add in if there are or are not any risks identified with selling to various countries
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
Scroll down for Section 5.

Section 5.Customer Returns, Product/Component Failures
This is a list of all Customer returns, parts and faults, over time. The number of failures and trends in failures are part of the table.
Any new faults or potential problems will be shown in the tables.

After the listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
There is also a question – Returns / New Re-Work Risks? This is asking do any returns or re-works pose any risks With a comments box.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

Scroll down for Section 6.

Section 6. Design Changes / Product Changes
This is a list of all document design changes, any files in red are new to the system since the last review.
After the Listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
There is also a question – Risks Associated with Design Changes / Product Changes or Do any Notified bodies MHRA require notification of any changes. This means do any design changes or product changes require any notifications to external parties such as MHRA/BSI. With a comments/answer box.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

Scroll down for Section 7.

Section 7. Current User / Instruction
This is a list of all user instructions, any changes since the last review will be highlighted in red.
After the Listing there is a comments box to confirm the manuals are still fit for purpose.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
There is also a Question – Risks Associated with Instruction Manuals, if any risks associated with instruction manuals has been identified, with a comments/answer box.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

Scroll down for Section 8.

Section 8. Labels
This is a list of all labels used, any changes since the last review will be highlighted in red.
After the listing there is a comments box to confirm the labels are still fir for purpose.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
There is also a Question – Risks Associated with Labels, if any risks associated with the current label has been identified. With a comments/answer box.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

 Scroll down for Section 9.

Section 9 All documentation listing
This is a list of all documents linked in the technical file, with any new documentation highlighted in Red.
After the Listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
There is also a Question – Risks Associated with Design Changes / Product Changes, does any documents pose any risks. With a comments box.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

Scroll down for Section 10.

Section 10 Internal Communications and Issues
This is a list of all internal communications that contain/attached/linked to the products and/or components.
The list contains any / all non conformance / customer complaints / customer returns in all other areas of the company's processes and systems.
After the Listing there is a comments box, where comments can be logged to the report.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.
There is also a Question – Risks Associated with Issues, have any risks been identified in the Issues system. With a comments box.
Clicking the Further Action Required box will generate an Issue with the comments box when the form is completed.

 Scroll down for Section 11.

Section 11 Web Search for Clinical Reports
This contains two Yes / No questions based on searching Google for the Clinical and Product range.
Do any of the results indicate a Risk / Problem with this product range.
Do any of the results indicate the Product Range is outdated technology.
There is a comments box where any URL links can be pasted.

Scroll down for Section12.

Section 12 Web Search for FDA Reports
This contains two Yes / No questions based on searching Google for FDA and Product range.
Do any of the results indicate a Risk / Problem with this product range.
Do any of the results indicate the Product Range is outdated technology.
Also a Comments box where any URL links can be pasted

Finally Click Sign off / Store review button to complete and sign off the report.
Print the PDF that is generated.
Find the previous years version of the file, and upload on top.

If any Further Action Required boxes were required, they will be in your daily Issues ready to be forwarded / acted upon by the relevant people.