[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]


          Residual Risk
Resuscitation cabinet – CE FILE 


Residual Risk Analysis Report.

Rotating Acrylic Bed

The centre of the rotating bed is a bolt which is a source of dirt collection.

When the bed is cleaned this bolt should also be cleaned and checked that the bed rotates freely.

The mattress is round but apart from its shape should be cleaned and handled as in the general body of the manual on bed care and cleaning 

The bed should never be left between these positions either in use or in storage.

Care should be taken to prevent the operators fingers becoming trapped in the mechanism

Care should be taken to ensure that the patients limbs do not protrude out of the bed     perimeter when the bed is being rotated

The patient dropping off. This should never happen as the patient should never be left unattended

Electrical
If the heater case is removed with the unit switched on

Wiring failures if wires become disconnected 

Element is touched.

Component failure

Heat
Patient overheat 

User over heat

Physical Injury

.head of user coming into contact with the heater

See individual risk reports

WARNINGS

See label section and user manual 

J.S.lamb

11/02/11

7673%5B1%5D.doc
15/02/2011

Page 1

[image: image1.jpg][image: image2.png]