[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




APGAR TIMER– CE FILE

Device Classification.

Extract from Medical Device Directive 93 / 42 / EEC, Annex IX: Classification Criteria.

1.
Definitions for the classification rules.
1.1 Duration.

[image: image1.jpg]
Short Term


Normally intended for continuous use for not more than 30 Days

Long Term


Normally, intended for continuous use for more than 30 Days

*
The Apgar Timer is intended for use for periods of not more than 60 Minutes – Hence Transient.
[image: image2.png]
Any active medical device, whether used alone or in combination with other medical devices, to supply information for detecting, diagnosing, monitoring or treating physiological conditions, states of health, illness or congenital deformities..

*
The Apgar Timer is used to Monitor Time-Elapsed, during resuscitation, - Hence an active device.
II. IMPLEMENTING RULES.

2.
Implementing rules.
2.1.
Application of the classification rules shall be governed by the intended purpose of the devices.

2.2.
If the device is intended to be used in combination with another device, the classification rules shall apply separately to each of the devices.  Accessories are classified in their own right separately from the device with which they are used.

2.3.
Software, which drives a device or influences the use of a device, falls automatically in the same class.

2.4.
If the device is not intended to be used solely or principally in a specific part of the body, it must be considered and classified on the basis of the most critical specified use.

2.5.
If several rules apply to the same device, based on the performance specified for the device by the manufacturer, the strictest rules resulting in the higher classification shall apply.

III.  CLASSIFICATION.

1.
Non-invasive devices
1.1 All Non-invasive devices are in Class I, unless one of the rules set out hereinafter applies:

*
The Apgar Timer is a Non-invasive device– Hence Class I



1.6       Active Device for Diagnosis








Transient





Normally intended for continuous use for less than 60 Minutes.








D. Device Classification_Apgar Timer
16/12/2004
                                                                                                                               Page 2



