[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




OXYGEN HOOD – CE FILE

Description of Device.

Generic name of device: Transparent Plastic Enclosures

Model name: Oxygen Hood

Model number: PP8000 Series

Brief description of device and other devices designed to be used in combination with it:
Flat sheets of transparent Perspex shaped to form small enclosures usually used to surround a neonates head, to allow a greater concentration of oxygen to be achieved.

They are normally manufactured from transparent Acrylic (Perspex) and are shaped with a neck opening. This opening has a sliding front, which can be adjusted to reduce the opening around the neck and therefore reduce the gas and heat loss.

Standard sizes are available covering a range of patients; neonate, infant & paediatric.

Specials are manufactured to order.

· They all have sliding neck doors enabling a better seal around the neck.

· The neonatal neck door is slanted backward into the Oxygen Hood to allow room for the neonates chin.

· Half holes are drilled around the base to give access for IV tubes and leads etc.

· All Oxygen Hoods have a 22mm hole for Oxygen.

· Some versions have rotating side windows, to allow access.

· Some are manufactured from Amber 300.
F. Description of Device_Oxygen Hood
12/01/2005                                                                                                                              
Page 1


[image: image1.jpg][image: image2.png]