[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                                         common Files

Specification of Materials
	
	
	

	COMPONENTS FOR NEONATAL HEADBOX

	MATERIAL
	SUPPLIER
	PART CODE

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-4

	Thumb Nuts
	W.D.S. Ltd
	8151-214

	2ba x l9csx zp Screw
	F.E.C. Ltd
	149,761

	Glue Acrifix 107
	Rightons Ltd
	30,203,754



	COMPONENTS FOR PAEDIATRIC HEADBOX

	MATERIAL
	SUPPLIER
	PART CODE

	 Perspex clear Cast Acrylic
	Barkston Plc
	Px001-4/5

	Thumb Nuts
	W.D.S. Ltd
	8151-214

	2ba x l9csx zp Screw
	F.E.C. Ltd
	149,761

	Glue Acrifix 107
	Rightons Ltd
	30,203,754


	COMPONENTS FOR INFANT HEADBOX

	MATERIAL
	SUPPLIER
	PART CODE

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-40

	Thumb Nuts
	W.D.S. Ltd
	8151-214

	2ba x l9csx zp Screw
	F.E.C. Ltd
	149,761

	Glue Acrifix 107
	Rightons Ltd
	30,203,754


	COMPONENTS FOR HEADBOX WITH PORTHOLES

	MATERIAL
	SUPPLIER
	PART CODE

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-5

	Clear cast Rod
	Barkston Plc
	16-000

	4ba x12csx  zp Screw
	F.E.C. Ltd
	149,761

	Glue Acrifix 107
	Rightons Ltd
	30,203,754


	                               COMPONENTS FOR   AMBER 300 Products

	MATERIAL
	SUPPLIER
	PART CODE

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-5

	Clear cast Rod
	Barkston Plc
	16-000

	4ba x12csx  zp Screw
	F.E.C. Ltd
	149,761

	Glue Acrifix 107
	Rightons Ltd
	30,203,754


W:\COMPANY\CEMARK\PLastics WP\Common Plastic Files\V) Specification of materials.doc
J S Lamb
Page 1
August 28, 2002

[image: image1.jpg][image: image2.png]