[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                                               OXYGEN HOOD – CE FILE

Specification of Materials.

	Components for neonatal headbox

	Material
	Supplier
	Part code

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-4

	Thumb Nuts
	W.D.S. Ltd
	8151-214

	2ba x l9csx zp Screw
	F.E.C. Ltd
	149761

	Glue Acrifix 107
	Rightons Ltd
	30203754



	Components for paediatric headbox

	Material
	Supplier
	Part code

	 Perspex clear Cast Acrylic
	Barkston Plc
	Px001-4/5

	Thumb Nuts
	W.D.S. Ltd
	8151-214

	2ba x l9csx zp Screw
	F.E.C. Ltd
	149761

	Glue Acrifix 107
	Rightons Ltd
	30203754


	Components for infant headbox

	Material
	Supplier
	Part code

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-40

	Thumb Nuts
	W.D.S. Ltd
	8151-214

	2ba x l9csx zp Screw
	F.E.C. Ltd
	149761

	Glue Acrifix 107
	Rightons Ltd
	30203754


	Components for headbox with portholes

	Material
	Supplier
	Part code

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-5

	Clear cast Rod
	Barkston Plc
	16-000

	4ba x12csx  zp Screw
	F.E.C. Ltd
	149761

	Glue Acrifix 107
	Rightons Ltd
	30203754


	Components for amber 300 products

	Material
	Supplier
	Part code

	Perspex clear Cast Acrylic
	Barkston Plc
	Px001-5

	Clear cast Rod
	Barkston Plc
	16-000

	4ba x12csx  zp Screw
	F.E.C. Ltd
	149761

	Glue Acrifix 107
	Rightons Ltd
	30203754


T. Specification of materials_Oxygen Hood
12/01/2005

Page 1 


[image: image1.jpg][image: image2.png]