V1.0    01/06/11

Production Procedure 7900031

Sumner Manufacturing, 

Ar-Gone Oxygen Analyzer assembly 
Install the following into assembly 7900030:

1 x 0110380 Oxygen Sensor, WGA-01 Sumner Manufacturing
Ensure that the analyzer reads 25.00 % +/- 2% when potentiometer fully 

+ve (clockwise).

