V1.0    01/06/11

Production Procedure 7910030

Sumner Manufacturing, 

Ar-Gone Oxygen Analyzer assembly 
Install the following into assembly 7900031:

1 x 9950055 Battery Alkaline Manganese 9V.

Test: Switch analyzer on ensure display reads 00.00

