[image: image1.jpg]


VIAMED

OXYGEN HOOD

Q.A. - Packing Checklist Procedure

VM3/COP/52.01

	Date 10_06_2011
	Revision Date:10-Jun-11
	Issue: 1



1. Unpack the Oxygen Hood from its original packing (possibly newspaper)  and remove any supplier data

     CHECK

a. The product is the correct item

b. The product is the correct size:

c. The product is not damaged


 Ensure Serial Number   label is attached to rear of the Hood


Viamed Label

         

Add the insert leaflet  0490010 + PP1968 in all hoods

Ensure the knobs are tightened so that the front is secure and will not move in transit.

Check the product is clean  and repack – Use blue foam along the base and a minimum of 2 layers of bubble-wrap.


      Fix Barcode label to the Top-Front of the hood, ensuring the hood serial number is 
      on the label.

Product Sizes

PP8000 Size 1 Oxygen Hood 
H = 150mm
W = 200mm
L = 165mm

PP8050 Size 2 Oxygen Hood
H = 185mm
W = 255m
L = 240mm

PP8060 Size 3 Oxygen Hood
H = 230mm
W = 310mm
L = 300mm

PP8589 Size 4 Oxygen Hood H = 300mm
W = 400mm
L = 400mm

PP8000
with ports  PP020
Photo Hood  PP8509

0195001
PP9050
with ports  PP8055
Photo Hood  PP8533

0195001
PP8060
with ports  PP8065
Photo Hood  PP8562

0195001 
PP9589 
with ports PP8715




0195001

vm3cop52.01.doc        10/06/2011        Page 1 of 1

