	VIAMED COMPANY OPERATING PROCEDURE

	Q.A. Packing Nova Oxygen TentsTitle

	VM3/COP/ 59.01

	Date: 26/03/2007
	Revision Date:10-Jun-11
	Issue: 1



1. Unpack the Oxygen Hood from its original packing, and check that:

a. The product is the correct item

b. The product is the correct size:

c. Remove Nova leaflet

d. Remove Nova label from tent and ensure no residue is left on the hood

[image: image1.jpg]


[image: image2.jpg]



Add Viamed Label ( 0195001 Viamed clear)  where the nova label was removed from.

Add Serial Number label to the top right hand corner of the front

Check the product visually for damage.

Add the insert leaflet  239001. One per hood.

Ensure the product and outer carton are clean.

Add labels to original box 

[image: image3.jpg]


[image: image4.jpg]) —




        Pt No. 2390020

            (Cover Nova 


Logo)


          Barcode label

Remove label

Address label

nova59.01.doc         10/06/2011                   Page 1 of 1

