v1.0  20/06/11
Specifications

Weld Wide Solutions Ar-Gone Weld Gas Analyzer
Part number: 7910020

[image: image1.jpg]



	Specifications

	Operational range
	0 – 100 % oxygen

	Display
	4.5 digits LCD, 2 decimal places

	Display digit height
	12.2 mm

	Resolution
	0.01 %

	mV to % ratio
	1:1

	Display maximum range
	200mV

	Low battery indication
	Yes

	Low battery indication threshold
	7.2 V typical (6.3 V minimum, 7.7 V maximum)

	Battery (included)

Part number: 9950055
	9 V, 550 mAh alkaline manganese



	Operating temperature
	0 °C to 50 °C

	Storage temperature 
	-10 °C to 60 °C

	Operating relative humidity
	80%

	Dimensions
	145 mm (l) x 80 mm (w) x 37 mm (h)

	Weight – without battery and oxygen sensor
	124 g

	Weight  - with battery and oxygen sensor
	197 g

	Oxygen sensor (included)

Part number: 0010370
	WGA-01 



	Oxygen sensor output in air
	25 mV +/- 2 mV


