v1.0  20/06/11
Contents 7900031

Sumner Manufacturing Co. Inc. Ar-Gone Weld Gas Analyzer
[image: image1.jpg]



Sub assembly from Viamed – Not finished product for sale.

Has oxygen sensor installed, does not have battery installed.

	Qty
	Part number
	Description

	1
	7900020
	Argone Weld Gas Analyzer

	1
	0110380
	Oxygen sensor, WGA-01


[image: image2.jpg]—
RANES

m
WWw.sumner-GO





