V1.1    20/06/11

Production Procedure 7900031

Sumner Manufacturing, 

Ar-Gone Gas Analyzer assembly 
[image: image1.jpg]—
RANES

m
WWw.sumner-GO





Install the following into assembly 7900030:

1 x 0110380 Oxygen Sensor, 

      WGA-01 Sumner Manufacturing

Ensure that the analyzer reads 25.00 % +/- 2% when potentiometer fully 

+ve (clockwise).

[image: image2.jpg]



