V1.1    20/06/11

Production Procedure 7910030

Sumner Manufacturing, 

Ar-Gone Oxygen Analyzer assembly 
[image: image1.jpg]


Install the following into assembly 7900031:

1 x 9950055 Battery Alkaline Manganese 9V.

Test: Switch on analyzer, rotate calibration control to fully clockwise +ve position.

Ensure display reads 25.00  +/- 2.00
[image: image2.jpg]



