VN202 mkII Error signals 


1. E1:amplification gain error

2. E2:output signal of amplifier was saturated

3. E3:reading is higher than 120%

4. E4:Calibration error


JSL

04/07/11
VN202 mkII error signals.doc                               1                                     04/07/11


