[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




NOVA TENT – CE FILE 

Packaging Trial & Validation

The following should be checked:
· The unit being sent is to the specification as detailed on the official order.

· The instructions for use and cleaning instructions are included.

Packaging:

· The Units are hand delivered by the supplier wrapped and boxed for protection.

· The units are then packed in cardboard boxes.

· Wrap the unit(s) in bubble-pack (if Large & Flimsy).

· Place in box with airbags surrounding – applied with use of the Specific airbag machine – (Cell-O-Ez – Air Cushion Machine).

Postage:

· For single and multiple orders – Despatch is via an applicable courier with adequate insurance.
· Alternative Delivery is via a Hospital visit by a Sales Representative.

M. Packaging Trial & Validation_


08/02/2005                                                                                                                                             Page 1



[image: image1.jpg][image: image2.png]