John has filled in the Nbog information:

	Family
	CMDCAS
	Manufacture Name
	EC QA Cert number
	MDD CLASS
	MDD CLASSIFICATION RULE
	ANNEX CONFORMITY ASSE ROUTE
	NBOG Number

	Apgar Timer 2
	No
	Viamed
	1389
	I
	1
	Annex II
	MD 0100

	COT Lids
	No
	Tanda
	1389
	I
	1
	Annex II
	MD 0100

	Heat Shields
	No
	Viamed
	1389
	I
	Rule 1
	Annex II
	MD 0100

	Light Shields
	No
	Viamed
	1389
	IIa
	Rule 9
	Annex II
	MD 0100

	Microstim MkIII
	Yes
	Viamed
	1389
	IIa
	Rule 10
	Annex II
	MD 1103

	Nova Oxygen Tents
	No
	Nova
	1389
	IIa
	Rule 2
	Annex II
	MD 0101

	Oxygen Hoods
	No
	Viamed
	1389
	IIa
	Rule 2
	Annex II
	MD 0100

	Resuscitation Unit and TC400
	No
	Viamed
	1389
	IIb
	Rule 9
	Annex II
	MD 1100

	T Adaptors
	No
	iii
	1389
	IIa
	Rule 9
	Annex II
	MD 0101

	Tom Thumb
	Yes
	Viamed
	1389
	IIb
	Special Rule 9
	Annex II
	MD 1100

	Tube Holder
	No
	Viamed
	1389
	I
	1
	Annex II
	MD 0100



With regard to the Resus unit

Tom thumb (Viameds ) Class IIb
Apgar Timer (Viameds) Class I
Suction Unit (Supplied by Therapy Equipment or OxiLitre ) Class IIa
Air O2 Blender (option with some units only, Supplied by Inspiration Healthcare) Class: IIb
Nufer Heater (External to Cabinate but supplied at same time Supplied by Nufer Medical) Class IIb

