	0111211 Goods-In Procedure


Verify contents.

1 x Yellow plastic carrying case, includes:

1 x GB-300 analyser (yellow). Note: no cradle, no v-mount plate

1 x I-17 oxygen sensor (0110517), orange label 

1 x T piece (0120100)
1 x Flow diverter (0120099)
1 x  Connector 22mm I.D./30mm O.D. - tapered (0120133)
1 x Pack of batteries, (3 x AA)

1 x Note regarding sensor cable, Form B77781-0

1 x Quick Start Guide, M-GB300-REV 2

1 x Sensor cable – remove the supplied Teledyne cable and transfer to 0131201 stock and carry out QA.

NOTE: Generate bar codes for the analyzer and the sensor.

The above has been added to intrastats pre barcode labelling instructions.

v1.0

22/08/11
