	VOP

	Viamed Operating sub Process

	COMPANY DOCUMENTATION 

	Created:
	27/03/06
	VOP 01
	Issue 1

	Revised:
	22 May 2006
	Last printed 28/03/2006 10:19
	Page 1 of 1

	Charts 01, 10 & Interfaces


	VOP

	Viamed Operating sub Process

	Company Documentation 

	Created:
	27/03/06
	VOP 01
	Issue 1

	Revised:
	22 May 2006
	Last printed 28/03/2006 10:19
	Page 5 of 5

	Charts 01, 10 & Interfaces



DOCUMENTATION

The purpose of this document is to describe the system in use at the company in order to ensure that all significant documents are subject to control, and that only correct issues of relevant documents are available and in use. Viamed Operating Procedures are binding instructions, and all members of staff are required to conform to the requirements therein.

The requirement for new Procedures, or changes to procedures can originate from any person within the company. These requirements will be discussed and agreed by management before processing.
It is the responsibility of the Managing Director, or a person appointed by him e.g. the Quality Manager and/or Technical Engineer, to ensure the origination, upkeep, revision, control and authorisation of documentation, including technical documents, work instructions, specifications, records and forms and procedures.
Documents such as procedures, instructions, specifications etc. are retained as “Word” documents, Autocad & PCB documents, and are also stored electronically  (Read Only) therefore making them available to all personnel, for information purposes. All other relevant documentation, such as international standards and technical literature is retained in the Company’s library and can be withdrawn by authorised personnel only. This withdrawal must be signed for, using a tracer file.

DOCUMENT CHANGE / AMENDMENT

All essential documents contain a change / revision facility. This is controlled by date revised and last date printed. Printed is either electronic or hard copy. Departmental heads are responsible for ensuring prompt removal of obsolete documents from all points of use. After many revisions, a document may be fully Re-Issued as the next number status.

Where significant changes have been made to a Company document / management system e.g. new or major modifications to procedures or a reduction in quality surveillance, or to such as the Design / CE Files, then the appropriate Notified Body will be informed in writing, with copies of the changes where required.

It is the responsibility of the originator of any change order to ensure that documents becoming obsolete are promptly destroyed or returned for filing.

After the retention period (as defined in the document register) has expired, the documents will be archived, in various locations, or destroyed, depending on the nature of the document. The Managing Director will take this decision.

TECHNICAL DOCUMENTATION

When engineering drawings and / or specifications are created for manufacturing purposes, the documents will be authorised by signature on the final draft copy, and computer initialled on the final master copy, as verification of current issue. This authorisation will be vested in a senior person responsible for technical matters. These documents will be controlled in the same manner as previously stated above.
Manufacturers manuals and technical data sheets, British and International standards, together with any regulatory guidance documents are maintained in the library for reference purposes. Where applicable, these documents are also stored electronically (old versions are not removed).

All relevant Standards are filed and indexed in a master standards file in numerical order and are maintained up to date annually by reference to the BS guide.

Quality records are identifiable to the product and the responsibility for records, how they are filed and their retention periods are set out in the Document Register.

A network is installed and the central File server holds a master copy of the most used files, which require shard access. All centrally held files are backed up routinely and copied to CD-ROM by the IT Director.

All CE & Design files are maintained by the Technical engineer and are also available for viewing electronically.. These files are backed up on CD-ROM.

DOCUMENT REGISTER

	Form No
	Title
	Responsibility
	Location
	Retention


	Withdrawn

	QC 01
	Duplicate Order Book
	Office Staff
	General Office
	1 Year
	

	QC 02
	Stock Record
	Office Staff
	General Office
	On-going
	

	QC 03
	Invoice
	Office Staff
	General Office
	On-going
	

	QC 04
	Purchase Order
	Office Staff
	General Office
	11 Years
	

	QC 05
	Investigation Report
	Regulatory Affairs
	Quality Office
	11 Years
	

	QC 06
	Supplier Questionnaire
	Regulatory Affairs
	Quality Office
	On-going
	12/10/2004

	QC 07
	Training Requirements
	Regulatory Affairs
	Quality Office
	On-going
	

	QC 08
	G.R.N.
	Stock Controller
	Stores
	11 Years
	

	QC 09
	S.R.N.
	Office Staff
	General Office
	On-going
	

	QC 10
	Electrical Safety Test
	Technical Engineer
	Design Office
	On-going
	

	QC 11
	Customer Complaint Index
	Regulatory Affairs
	Quality Office
	11 Years
	

	QC 12
	Customer Complaint Form
	Regulatory Affairs
	Quality Office
	11 Years
	

	QC 13
	Certificate of Conformity
	Regulatory Affairs
	Quality Office
	On-going
	

	QC 14
	Calibration Register
	Technical Engineer
	Design Office
	On-going
	

	QC 15
	Calibration Record
	Technical Engineer
	Design Office
	On-going
	

	QC 16
	Training Record
	M.D.
	Quality Office
	On-going
	

	QC 17
	Internal Audit Checklist
	Regulatory Affairs
	Quality Office
	3 Years
	

	QC 18
	Internal Audit Report
	Regulatory Affairs
	Quality Office
	3 Years
	

	QC 19
	Stock Transfer Note
	Stock Controller
	General Office
	11 Years
	

	QC 20
	Document Update
	Quality Engineer
	Library
	On-going
	12/10/2004

	QC 21
	Non-conformance / Withdrawal
	Technical Engineer
	Design Office
	3 Years
	

	QC 22
	Job Description & Spec
	Technical Engineer
	Design Office
	On-going
	12/10/2004

	QC 23
	Estimated Timescales
	Technical Engineer
	Design Office
	On-going
	12/10/2004

	QC 24
	Design Review
	Technical Engineer
	Design Office
	On-going
	12/10/2004

	QC 25
	Progress Plan
	Technical Engineer
	Design Office
	On-going
	12/10/2004

	QC 26
	Work Log
	Technical Engineer
	Design Office
	On-going
	12/10/2004

	QC 27
	Purchases
	Technical Engineer
	Design Office
	On-going
	12/10/2004

	QC 28
	Post Design Changes
	Regulatory Affairs
	CE Library
	On-going
	

	QC 29
	Documentation Checklist
	Regulatory Affairs
	CE Library
	On-going
	

	QC 30
	Project Validation
	Regulatory Affairs
	CE Library
	On-going
	

	QC 31
	Daily Repair Log
	Production Engineer
	Production
	3 Years
	

	QC 32
	Daily Production Log
	Production Engineer
	Production
	3 Years
	

	QC 33
	Tom Thumb Test Sheets
	Mech. Engineer
	Quality Office
	On-going
	

	VOP 1-18
	Viamed Operating sub processes
	Owner
	
	
	

	VOP 01
	Company Documentation
	Quality
	
	On-going
	

	VOP01.01 
	Procedure Checking & Revision
	Quality
	
	On-going
	

	VOP 02
	Responsibilities
	Directors
	
	On-going
	

	VOP 03
	Office Process

	Sales
	
	On-going
	

	VOP 04
	Vigilance
	Sales
	
	On-going
	

	VOP 05
	Supplier Control
	Directors
	
	On-going
	

	VOP 06
	Measurement Control
	Production
	
	On-going
	

	VOP 07
	Stock Control.
	Production
	
	On-going
	

	VOP 08
	Production
	Production
	
	On-going
	

	VOP 09
	Repairs
	Production
	
	On-going
	

	VOP 10
	Corrective & Preventive Actions
	Quality
	
	On-going
	

	VOP 11
	Equipment Control
	Technical
	
	On-going
	

	VOP 12
	Human Resources
	Directors
	
	On-going
	

	VOP 13
	Process monitoring
	Quality
	
	On-going
	

	VOP 14
	Servicing

	Sales
	
	On-going
	

	VOP 15
	Data & Information Analysis
	Quality
	
	On-going
	

	VOP 16
	Health & Safety

	Quality
	
	On-going
	

	VOP 17
	Design & Development
	Technical
	
	On-going
	

	VOP 18
	Maintenance & Environment
	Directors
	
	On-going
	

	Procedure No
	Title
	Form No
	Form Title
	Retention 
	Withdrawn

	VM/COP/01  
	Amendment Control
	
	
	
	

	VM/COP/02
	Organisation and Responsibilities
	
	
	
	

	VM/COP/03
	Enquiries/Orders/Contract Review
	QC01
	Telephone Order
	On-going
	

	
	
	QC03 
	Invoice/Despatch Note Set
	11 Years
	

	VM/COP/04
	Purchasing
	QC04
	Purchase Order
	11 Years
	

	
	
	QC05
	Purchase Order (Specialist Suppl)
	On-going
	

	VM/COP/04
	Purchasing
	QC04
	Purchase Order
	
	

	
	
	QC05
	Purchase Order (Specialist Suppl)
	
	

	
	
	QC 06
	Supplier Questionaire
	
	

	
	
	QC07
	Register of Approved Suppliers
	
	

	VM/COP/05
	Receipt of Goods - Quality Assurance
	QC02
	Stock Record
	
	

	VM/COP/06
	Rejected Goods - Vendor Quality Control. Preventative Action
	QC08
	Goods Return Note
	
	

	VM/COP/07
	Handling, Storage and Stock Control
	QC19
	Stock Transfer Note
	
	

	VM/COP/08
	Process Control - Picking, Packing,
	QC03
	Invoice/Despatch Note Set
	On-going
	

	
	Despatch and Installation
	QC13
	Certificate of Conformity
	On-going
	

	VM/COP/09
	Repairs
	QC09
	Service Repair Note (SRN)
	On-going
	

	
	
	QC10
	Electrical Safety Test Record
	On-going
	

	
	
	QC10b
	Computer generated
	
	

	
	Maintenance of Service & production Equipment
	
	
	
	

	VM/COP/10
	Customer Complaints & Withdrawal of product
	QC11
	Customer Complaint Index
	
	

	
	Suspect Product
	QC12
	Customer Complaint Report
	
	

	
	Incident Reporting
	App 3
	MDD Incident Form
	
	

	VM/COP/11
	Calibration Equipment
	QC14
	Register of Calibrated
	
	

	
	
	QC15
	Calibration Record Card
	
	

	VM/COP/12
	Training
	QC16
	Training Record Card
	
	

	VM/COP/13
	System Audits and Reviews
	QC17
	System Audit Programme
	
	

	VM/COP/13
	System Audits and Reviews
	QC18
	Non Conformance
	
	

	M/COP/14
	Documentation, Records and Computer backup
	QC20
	Documentation Update
	
	

	VM/COP/15
	Price Updating
	
	
	
	

	VM/COP/16
	Design & Design construction
	QC22
	Job Description & Specification
	
	

	
	
	QC23
	Project Time scales
	
	

	
	
	QC24
	Design Review  
	
	

	
	
	QC25
	Job Progress
	
	

	
	
	QC26
	Work Logs
	
	

	
	
	QC27
	Purchases
	
	

	
	
	QC28
	Design Changes
	
	

	
	
	QC29
	Documentation Check List  Check 
	
	

	
	
	QC30
	Project Validation
	
	

	
	
	QC23
	Project Time scales
	
	

	
	
	QC24
	Design Review  
	
	

	
	
	QC25
	Job Progress
	
	

	
	
	QC26
	Work Logs
	
	

	
	
	QC27
	Purchases
	
	

	
	
	QC28
	Design Changes
	
	

	
	
	QC29
	Documentation Check List  
	
	

	
	
	QC30
	Project Validation
	
	

	Procedure 
	Product
	Pt No
	Stk
	
	

	VM3/COP/31.11
	Criticare D-Type
	
	
	
	

	VM3/COP/31.12
	Critikon
	
	
	
	

	VM3/COP/31.13
	Critikon Dynamap+
	
	
	
	

	VM3/COP/31.17
	Datex 3
	
	
	
	

	VM3/COP/31.18
	Datascope
	
	
	
	

	VM3/COP/31.25
	Critikon/Sensormedics/Thorkom
	
	
	
	

	VM3/COP/31.40
	Invivo
	
	
	
	

	VM3/COP/31.45
	Kontron
	
	
	
	

	VM3/COP/31.50
	Nellcor
	
	
	
	

	VM3/COP/31.54
	Nonin
	
	
	
	

	VM3/COP/31.55
	Novametrix
	
	
	
	

	VM3/COP/31.70
	Ohmeda
	
	
	
	

	VM3/COP/31.75
	Pacetec
	
	
	
	

	VM3/COP/31.80
	S & W
	
	
	
	

	VM3/COP/31.85
	Simed
	
	
	
	

	VM3/COP/31.86
	Simed V2
	
	
	
	

	VM3/COP/32
	Finger Probe Assembly Instructions SpO2   
	
	
	
	

	VM3/COP/32.01
	Medlab Comdek
	P854RA
	
	
	

	VM3/COP/32.02
	BCI
	P855RA
	
	
	

	VM3/COP/32.03
	 Nellcor
	 P856RA
	18580
	
	

	VM3/COP/32.04
	 Spacelabs
	 P857RA
	18570
	
	

	VM3/COP/32.05
	 Nellcor
	 P858RA 
	18580
	
	

	VM3/COP/32.06
	Pace Tech
	 P859RA
	18590
	
	

	VM3/COP/32.07
	 Simed,Baxter
	 P86ORA
	18600
	
	

	VM3/COP/32.08
	 BCI
	 P86IRA
	18610
	
	

	VM3/COP/32.09
	 Criticare
	 P862RA
	18620
	
	

	VM3/COP/32.10
	 Datascope
	 P863 RA
	18630
	
	

	VM3/COP/32.11
	 Datascope
	 P864RA
	18640
	
	

	VM3/COP/32.12
	 Sensormedics
	 P865RA 
	18650
	
	

	VM3/COP/32.13
	 Simed Baxter
	  P866RA
	18660P
	
	

	VM3/COP/32.14
	Ohmeda
	  P867RA 
	18670
	
	

	VM3/COP/32.15
	 Criticare
	  P869RA
	186901
	
	

	VM3/COP/32.16
	  Nonin
	  P871RA 
	187101
	
	

	VM3/COP/32.17
	  Datex
	  P872RA
	18720
	
	

	VM3/COP/32.18
	  Datex
	  P873 RA
	18730
	
	

	VM3/COP/32.19
	 Palco
	  P874RA
	
	
	

	VM3/COP/32.20
	  Novametrix
	 P875RA
	18750
	
	

	VM3/COP/32.21
	  Novametrix
	 P876RA
	187601
	
	

	VM3/COP/32.22
	  Critikon
	 P877RA 
	18770
	
	

	VM3/COP/32.23
	  Invivo
	 P878RA
	18780
	
	

	VM3/COP/32.24
	Artema
	P879RA
	
	
	

	VM3/COP/32.25
	Novametrix
	P885RA
	
	
	

	VM3/COP/32.26
	 Kontron
	 P886RA 
	18860
	
	

	VM3/COP/32.27
	 Spacelabs
	 P887RA
	18870
	
	

	VM3/COP/32.28
	 S & W
	 P888RA 
	18880
	
	

	VM3/COP/32.29
	 Criticare
	 P889RA
	18890
	
	

	VM3/COP/32.30
	 Critikon
	 P89ORA
	18,900
	
	

	VM3/COP/32.31
	Critikon
	 P891 RA
	18,910
	
	

	VM3/COP/32.31
	Marquette
	P892RA
	
	
	

	VM3/COP/32.33
	Hewlett Packard
	P895RA
	
	
	

	VM3/COP/32.34
	S&W
	P896RA
	
	
	

	VM3/COP/33
	Extension cables
	
	
	
	

	VM3/COP/34
	Temperature probes
	
	
	
	

	VM3/COP/35
	“Y” Probe Procedures

	
	
	
	

	VM3/COP/36
	Microstim Procedures
	
	
	
	

	VM3/COP/37
	Oxygen Sensors Procedures
	
	
	
	

	VM3/COP/38
	Oxygen Analysers Procedures
	
	
	
	

	VM3/COP/39
	Oxygen Sensor Holder Procedures

	
	
	
	

	VM3/COP/40
	Vandagraph Procedures
	
	
	
	

	VM3/COP/43
	ECG Monitors Procedures
	
	
	
	

	VM3/COP/45
	DL3000
	
	
	
	

	VM3/COP/46
	Pippa Procedures

	
	
	
	

	VM3/COP/47
	Apgar Timer Procedures
	
	
	
	

	VM3/COP/48
	NIBP Calibration Procedures
	
	
	
	

	VM3/COP/49
	Defibrillators Procedures
	
	
	
	

	VM3COP50
	Tom Thumb
	
	
	
	

	VM3COP51
	Resuscitation cabinet
	
	
	
	

	VM3COP52
	Headboxes
	
	
	
	

	VM3/COP/53
	Nufer Procedures

	
	
	
	

	VM3/COP/54
	Mixcheq Procedures
	
	
	
	

	VM3/COP/56
	Foetal Heart Procedures
	
	
	
	

	
	
	
	
	
	

	VM3COP99
	Qa Individual Products
	
	
	
	


G:\ISO Completed Files 2006\Process 1 Sub processes VOP 1-22\VOP 01 Documentation.doc
22-May-06
Page 1 of 1
VOP 01 Documentation
22/05/2006 
Page 5 of 5

