FIRE EXTINGUISHERS & FIRST AID


Only Trained personnel are allowed to use the Fire Extinguishers.

All Fire Extinguishers are now colour designated “RED”

The following table gives the location of the fire extinguishers and their designations:

Location
Extinguisher
Size
Mounted
Next Test

Offices











Front Door
Water
9 Litre
Yes
2005

Front Door
Carbon Dioxide
2 kg
Yes
2005

Delivery Door
Powder
4 kg
Yes
2008

Central Passage
Water
9 Litre
Yes
2005

Upper Stairs
Water
9 Litre
Yes
2005

Upper Offices
Carbon Dioxide
2 kg
Yes
2004

Design Office
Carbon Dioxide
2 kg
Yes
2009







Basement











Compressor
Powder
4 kg
Yes
2008

Repairs
Carbon Dioxide
2 kg
Yes
2004

Tom Thumb
Carbon Dioxide
2kg
Yes
2007

Production
Carbon Dioxide
2 kg
Yes
2004

Bottle Bank
Powder
4 kg
Yes
2004

Mechanical
Water
9 Litre
No
2008







Warehouse











Shutter Door
Powder
4 kg
Yes


Fire Exit
Powder
4 kg
Yes








----------------------------------------------------------------------------------------------------------------

Only Trained personnel are allowed access to First Aid equipment.

The following table gives the location of all the First Aid kits.

Location
Eye Bath?
Wall Mounted?
First Aiders

Kitchen
No
No (drawer)
R.T.

Production
Yes
Yes (repairs)
R.T.

Warehouse
Yes
Yes (outside office)
R.T.

Company Van
No
No (under seat)
Driver

Company Cars
No
No (in boot)
Driver





















When equipment is required for the kits, then re-order via the Purchase Order Request form. (See - R.T.).

Fire & First Aid locations.sxw            10/20/06                    1

