SECURITY SYSTEMS APPLIANCES


	Zone No.
	Location
	Description
	

	1
	Front Door
	Magnetic
	

	2
	Meeting Room
	Passive infra-red
	

	3
	Main Office
	Passive infra-red
	

	4
	Post Room
	Passive infra-red
	

	5
	Spare (was by post room)
	
	

	6
	Filing Room
	Passive infra-red
	

	7
	Plant Landing
	Passive infra-red
	

	8
	JSL Office
	Passive infra-red
	

	9
	Directors Office
	Passive infra-red 
	

	10
	Production “1”
	Passive infra-red
	

	11a
	Rear Fire Exit Door
	Magnetic
	

	11b
	Production /Compressor Door
	Magnetic
	

	12
	Loft L.H.
	Passive infra-red
	

	13
	Export Office
	Passive infra-red
	

	14
	Repairs
	Passive infra-red
	

	15
	Production “2”
	Passive infra-red
	

	16
	Loft R.H.
	Passive infra
	

	17
	Design
	Passive infra
	

	18
	Fire Door (Design Room)
	Magnetic
	

	19
	Front Door – Goods in (left)
	Magnetic
	

	20
	Front Door – Goods in (right)
	Magnetic
	

	21
	Goods Inwards 
	Passive infra-red
	

	22
	Stores
	Passive infra-red
	

	23
	Vandagraph 1
	Passive infra-red
	

	24
	Vandagraph 2
	Passive infra-red
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Appliance Locations
17/08/2006                      Page 1 of 1

