Viamed Fire Risk assessment 2006

	Topic
	Questions raised 
	Report

	How could a fire start?

Think about heaters, lighting, naked flames, electrical equipment, hot processes such as welding or grinding, cigarettes, matches and anything else that gets very hot or causes sparks.
	Have you found anything that could burn? 

	Make a note of it.

How could a fire start.

Electrical equipment faults

Kitchen cooking

Soldering irons

Cigarettes in the car park



	What could burn?

Packaging. Rubbish and furniture could all burn, just like the more obvious fuels such as petrol, paint, varnish and white spirit. Also think about wood, paper, plastic, rubber and foam. Do the walls or ceilings have hardboard? Chipboard. or polystyrene? Check outside too.


	Have you found anything that could burn? 


	Make a note of it.

What could burn
Waste paper in bins

Packing material

Substances held in the COSHH cupboard

Partitioning in offices

Furniture



	
	Have you found anything that could start a fire 

	Make a note of it

Printers

Computers

Fans

Battery chargers

	People at risk

Everyone is at risk it there is a fire. 

Think whether the risk is greater for some because of when or where they work, such as night staff, or because they’re not familiar with the premises, such as visitors or customers, children, the elderly or disabled people are especially vulnerable.


	Have you identified; Who could be at risk?


	Make a note of what you have found.

Who can be at risk
Everyone in the building can be at risk.

Especially at risk are people working late and in far reaches of the building

The risk to staff and visitors is low.



	
	Have you identified Who could be especially at risk’?


	Yes Risk Assessment

	Evaluate
First, think about what you have found: 

what are the risks of a fire starting, and 

what are the risks to people in the building and nearby?

	Have you assessed the risk to staff and visitors?


	Yes Risk Assessment

	
	Have you assessed the risks of fire in your workplace?
	Yes Risk Assessment

	
	Have you kept any source of fuel and heat/sparks apart?
	Yes

	
	If someone wanted to start a fire deliberately, is there anything around he or she could use?
	In order to start a fire waste paper could be used. There is no fuel stored on the property

All inflammable solvents etc, are stored in the COSHH cupboard.

	
	Have you removed or secured any fuel an arsonist could use
	Yes

	
	Have you protected your premises from accidental fire or arson?
	Yes There is a fire alarm system in place

There are fire extinguishers strategically placed throughout the building

Fire extinguishers are regularly maintained by an external supplier

	
	How can you make sure everyone is safe in case of fire
	Exit plans are visible throughout the building

Emergency lighting is fitted and checked regularly

Exit routes are sign posted.

	Remove and reduce risk

 How can you avoid accidental fires?

	Could a source of heat or sparks fall, be knocked or pushed into something that would burn? 

Could that happen the other way round?
	No

	
	Will you know there is a fire’?
	Yes Alarms

	
	Do you have a plan to warn others?
	Yes Alarms

	
	Who will make sure everyone gets out?
	Yes

	
	Who will call the fire service?
	

	
	Could you put out a small fire quickly and stop it spreading?
	

	
	How will everyone escape?
	

	
	Have you planned escape routes?
	Yes

	
	Have you made sure people will be able to safely find their way_out,_even_at_night_if necessary?
	Yes . Luminescence signs. Emergency lighting

	
	Does all your safety equipment work’
	

	
	Will people know what to do and how to use equipment? 
	Make a note of what you have found.

	Protect
Take action to protect your premises and people from fire
	Have you made a record of what you have found, and action you have taken?
	Waste is regularly removed.

Plastic is separated from paper

Flammable materials are held in a Metal COSHH cupboard in the farest point in the building

The premises are protected from fire by lowering the risks

e.g taking sensible precautions

The employees are protected

There are adequate fire extinguishers, Signs, and alarms

Fire will activate smoke alarms throughout the building

There is a clocking in system and an IN/OUT board at the main entrance.

The xxxxxxxx will ensure everyone is out

XXXXXXXXX Will call the fire service

Small fires can be extinguished and prevented from spreading by using the fire extinguishers.

Escape routes are well sign posted with luminescence signs and there is an emergency lighting system installed.

All the safety equipment is regularly serviced by an external contractor

Everyone in the building has been through an induction course, which included HSE and Fire responses. 

	Record
Keep a record of any fire hazards and what you have done to reduce to remove them.
	Have you made a re cord of what you have 


	The risk of fire is low throughout the building

Computers and lights are turned off every night.

Workstations and printers should be turned off when work stations are vacated

The main servers are left on

There is a no smoking policy throughout the building 

Cooking is only allowed in the kitchen. This is restricted to Microwave and toaster

There are no electric or gas ovens.

The coffee machine is automatically switched off every evening and weekends.

Where are Fire hazards

What is the nature of the Hazard

id inducted 



	hazards and what you have found, and action you have taken?
	Keep a record of any fire
	

	done to reduce or remove them.
	Have you planned what everyone will do if there is a fire?
	

	If your premises are small, a record is a good idea.
?

If you have five or more staff keep a record of what you have

—

found and what you have done.

	Have you discussed the plan with all staff?
	

	Train

You need to make sure your staff know what to do in case

of fire and if necessary, are trained for their roles
	Have you? Informed and trained people 
	

	
	practiced a fire drill
	recorded how it went

	
	Nominated staff to put in place your fire prevention measures,
	

	
	or have a license then you must and trained them
	

	
	Made sure everyone can fulfill his or her role?
	

	
	Informed temporary staff?
	

	
	Consulted others who share a building with you, and included Keep your risk assessment_
them in your plan?
	

	Review

under regular review. Over

Keep your risk assessment under regular review. 

Over time. the risks may change.If you identify significant

changes in risk or make any significant changes to your

plan, you must tell others who share the premises and where

appropriate re-train staff.


	Have you?

Made any changes to the building inside or out?
	No

	
	Had a fire or near miss
	No

	
	Changed work practices?
	

	
	Begun to store chemicals or dangerous substances?
	No

	
	Significantly changed your stock, or stock levels?
	No

	
	Have you planned your next fire drill?
	

	
	
	

	
	
	

	
	
	





—



—

.
_________________________________________________________

2006 Fire assessment.doc                      17/10/2006                         Page 6 of 6

