## Sheet1
Emergency Lights, Smoke Alarms and CO Alarm
Location	Type	Action

Number 15 - Main office – above inner front door	Emergency light two bulbs has warning lights	Looks like it works but need to be checked as a warning light is on
Number 15 – Stock Room 5 – By server bench	Emergency light no idea if working or how to test	Need to get checked and find out how to test
Number 15 – Stock Room 1 – By Tom Thumb room	Emergency light no idea if working or how to test	Need to get checked and find out how to test
Number 15 – Tom Thumb room – By outside door	Emergency light no idea if working or how to test	Need to get checked and find out how to test
Number 15 – Tom Thumb room – By central heating boiler	Emergency light no idea if working or how to test	Need to get checked and find out how to test
Number 15 – Archiving room – By goods in entrance	Emergency light Working and test box next to	Seems fine and can test, but get serviced

Number 17 – Attic – At the top of the steps	Emergency light Working and test box next to	No action required. New and issue on
Number 17 – Landing – Outside accounts office	Emergency light Working and test box next to	No action required. New and issue on
Number 17 – Ground floor – In hall outside kitchen	Emergency light Working and test box next to	No action required. New and issue on
Number 17 – Ground floor – In hall by front door	Emergency light Working and test box next to SPECIAL AS STAYS ON	No action required. New and issue on

Number 15 – Stock Room 5 – At bottom of stairs	Smoke alarm – old but working	Needs a new battery and issues to test/ Battery change putting on
Number 15 – Stock room 5 – Row 4	Smoke alarm – old but working	Needs a new battery and issues to test/ Battery change putting on
Number 15 – Stock Room 1 – By Tom Thumb room	Smoke alarm – old but working	Needs a new battery and issues to test/ Battery change putting on

Number 15 – Hall – above inner front door	Smoke alarm – New	No action required. New and issue on
Number 15 – Hall – Outside the kitchen	Smoke alarm – New	No action required. New and issue on
Number 15 – Landing – Outside bathrooms	Smoke alarm – New	No action required. New and issue on

Number 15 – Attic	Carbon Monoxide Alarm	Need to put one up by boiler
Number 17 – Tom thumb room – By boiler	Carbon Monoxide Alarm	Need to put one up by boiler