	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542          Fax: +44 (0)1535 635582

info@viamed.co.uk                             www.viamed.co.uk



	INTERNATIONAL CUSTOMER PRICE LIST

Automotive Oxygen Sensors




	Part Number


	Description
	Output Connector
	Output Voltage
	USD $

	0110107
	R17A-LV Oxygen Sensor
	Switchcraft mini phone jack
	7 – 11.5 mV
	P.O.A.

	0110117
	R-17A Oxygen Sensor
	Switchcraft mini phone jack
	7 – 13 mV
	$75.00

	0110121
	R-21A Oxygen Sensor 
	3 pin Molex*
	7 – 13 mV
	$75.00

	0110122
	R-22A Oxygen Sensor
	3 pin Molex
	7 – 13 mV
	$75.00

	0110127
	R-17AV Oxygen Sensor
	Switchcraft mini phone jack
	9 – 13 mV
	$75.00

	0110131
	R-21AV Oxygen Sensor
	3 pin Molex*
	9 – 13 mV
	$75.00

	0110132
	R-22AV Oxygen Sensor
	3 pin Molex
	9 – 13 mV
	$75.00

	0110137
	R-17AH Oxygen Sensor
	Switchcraft mini phone jack
	10.5 – 13.5 mV
	$75.00

	0110142
	R-22AH Oxygen Sensor
	3 pin Molex
	10.5 – 13.5 mV
	$75.00


* Input Connection: 5/8-24 UNEF (American Thread)
CE
Prices effective: 11 January 2012

Prices EXW Viamed Ltd. (Incoterms 2010)

[image: image1.png]