	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542           Fax: +44 (0)1535 635582

Email: info@viamed.co.uk          www.viamed-online.com



	INTERNATIONAL PRICE LIST

AX300 Oxygen Analyser &

MX300 Oxygen Monitor 



	
	
	
	
	

	Part Number
	Model Number
	Description
	Price Euros €

	0111230
	AX300
	Oxygen analyser, without adjustable alarms

3½ digit LCD display with backlight

Sensor disconnect alarm

<17% alarm

Output: 0 – 1 Volt analogue

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter

Sensor cable

'V' mount adapter plate

Mounting stand

Non-conductive 'T' adapter (22mm, tapered)

3 x AA 1.5V batteries

Instruction manual

Declaration of Conformity


	€343.00

	0111232
	AX300 

Includes.optional:

RS232 output.
	Oxygen analyser, without adjustable alarms

3½ digit LCD display with backlight

Sensor disconnect alarm

<17% alarm

Output: RS232

Includes sensor and standard accessories.


	€372.25

	0111233
	AX300

Includes optional: 
2½ digit LCD.

	Oxygen analyser, without adjustable alarms

2½ digit LCD display with backlight

Sensor disconnect alarm

<17% alarm

Output: 0 – 1 Volt analogue

Includes sensor and standard accessories.


	€372.25

	0111234
	AX300

Includes optional:

RS232 output.

2½ digit LCD.


	Oxygen analyser, without adjustable alarms

2½ digit LCD display with backlight

Sensor disconnect alarm

<17% alarm

Output: RS232

Includes sensor and standard accessories.


	€401.50


	Part Number
	Model Number
	Description
	Price Euros €

	0111235
	MX300
	Oxygen monitor, with alarms

3½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: 0 - 1 Volt analogue

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter

Sensor cable

'V' mount adapter plate

Mounting stand

Non-conductive 'T' adapter (22mm, tapered)

3 x AA 1.5V batteries

Instruction manual

Declaration of Conformity


	€547.50

	0111237
	MX300

Includes.optional:

RS232 output.
	Oxygen monitor, with alarms

3½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: RS232

Includes sensor and standard accessories.


	€576.75

	0111238
	MX300

Includes optional: 
2½ digit LCD.
	Oxygen monitor, with alarms

2½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: 0 - 1 Volt analogue

Includes sensor and standard accessories.


	€576.75

	0111239
	MX300

Includes optional:

RS232 output.

2½ digit LCD.
	Oxygen monitor, with alarms

2½ digit LCD display with backlight

Adjustable low and high alarms

Sensor disconnect alarm

Output: RS232

Includes sensor and standard accessories.


	€606.00


Optional Accessories & Consumables

	Part Number
	Model Number
	Description
	Price Euros €

	0110017
	C43690
	Oxygen sensor, R17MED
	€60.00

	0120099
	B-50057
	Oxygen sensor flow diverter
	€7.50

	0120100
	A-268
	‘T’ adapter, disposable, 22mm I.D – 22mm O.D, T 15mm I.D. 
	€3.75

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.
	€5.25

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D.
	€5.25

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm)

15mm I.D. –15mm O.D., T 15mm I.D.
	€2.25

	0120120
	
	Oxygen concentrator adapter. Screws onto sensor, tapered inlet
	€6.40

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	€1.90

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	€1.90

	0120127
	1974
	Oxygen connector, 15mm I.D./22mm O.D. – 6.5mm (tapered)
	€1.70

	0121197
	
	‘V’ mount pole clamp, horizontal
	€61.10

	0121198
	
	‘V’ mount rail clamp
	€139.75

	0121199
	
	Swivel mount
	€57.40

	0121200
	CP2345
	Universal mounting clamp
	€59.00

	0121201
	CP2344
	‘V’ mount pole clamp
	€61.10

	0121202
	B 647
	‘V’ mount wall plate
	€22.50

	0121203
	B-75554
	0-1 V DC interface cable
	€28.80

	0121204
	B-75555
	RS232 interface cable
	€44.20

	0121205
	C53790
	Calibration assembly for AX300 & MX300
	€19.40

	0131201
	C74721 New Ver
	Sensor cable for AX300 & MX300 (Teledyne)
	€35.00

	0131202
	
	Sensor cable for AX300 & MX300 (Viamed)
	€24.00


CE0086

Prices effective: 18 May 2010

Delivery: EXW (Incoterms 2000) Viamed UK 

Tel:  
+44 (0)1535 634542

Fax: 
+44 (0)1535 635582

e-mail:
sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image1.png]Master€ard




	 
[image: image2.png]VISA







[image: image3.png]_1145192177.bin

_1145192477.bin

